The Fresnel Biprism

Abstract:

This experiment seeks to measure accurately the wavelength of sodium light using the Fresnel Biprism.  This method has several advantages over the typical Young’s Slits experiment, which are outlined below.  It was found that the wavelength of sodium light was 6.4×10−7±0.5×10−7m, which compares to the actual value of 5.9×10−7m1.

Basic Theory and Equations:

The interference of waves takes place when two or more coherent waves of equal amplitudes come together in space.  Their amplitudes add algebraically and so one obtains either constructive or destructive interference.  Further, one can create an interference effect by using two coherent sources.  A pattern is created on a screen and this consists of dark spots and bright spots – called intensity minima and maxima respectively.  The minima and maxima correspond to destructive and constructive interference.  Such a pattern can be made by performing the Young’s Slits experiment (see below).

The Fresnel Biprism is a variation on that theme which is Young’s Slits.  In theory, the source in Young’s slits is a point source, and the secondary slits are also supposed to act as point sources.  This is never the case, since clearly a point source is an idealization.  The finite size of the secondary slits gives rise to unwanted diffraction effects.

The Fresnel Biprism overcomes the difficulty associated with the extended secondary slits by replacing them with “virtual slits”, which are obtained from the configuration below.

(Insert diagram of Fresnel Biprism)

This configuration is in fact analogous to the Young’s Slits apparatus, and so we apply the formulas of the latter apparatus to the former.

(Insert diagram of Young’s Slits)

For constructive interference, we must have that the path difference equal an integral number of wavelengths, which gives mλ=dsinθ.  In this apparatus, D>>d, so we can say that sinθ≈θ≈tanθ=ymD, and so mλa=ymD.  This implies that the separation s between two adjacent intensity maxima (where s=ym+1−ym) is given by the following equation:

s=λDd										(1)

Now s and D are measurable quantities, although with the Fresnel Biprism, d is not directly measurable.  It can, however, be found by adding a lens to the apparatus as in the following diagram:

(Insert diagram with lens)

There will be two positions of the lens for which the “virtual slits” are visible.  The separation of the slits (as seen through the eyepiece) in these cases is d1 and d2.  From the lens formula, we can show that the actual separation between the two virtual slits is given by the following formula:

d=d1d2										(2)

(See Appendix 1 for the derivation of this formula).

Sketch of Apparatus:

(Insert sketch with labels)

Method:

- The apparatus was set up as in the sketch.   The apparatus was calibrated so that the light source, the slit, the biprism and the eyepiece were aligned.  The slit and the edge of the biprism were aligned.  This was to ensure that the behaviour of the rays was as in figure X.

- The eyepiece was brought close to the biprism and the fringes were located.  The width of the slit was adjusted to improve the visibility of the fringes.

- The eyepiece was then moved away from the slit in order to measure s, d1 and d2.  Hereafter, the position of the eyepiece relative to the source was kept fixed and this provided us with a measure of D.

- The lens was inserted and two positions of the lens were found for which the virtual slits were visible.  Thus, d1 and d2 were found.

- The lens was then removed and s was determined by measuring across 30 fringes.

Findings:

D=0.904±0.001m

d1=2.33±0.01mmd2=8.55±0.01mmd=d1d2=4.46±0.01

Where δd=12d2d1δd1+d1d2δd2

| S = 30s / mm | s / mm | S / mm | s / mm |
| --- | --- | --- | --- |
| 3.95 | 0.132 | 0.8 | 0.03 |
| 4.00 | 0.133 | 0.8 | 0.03 |
| 2.60 | 0.087 | 0.8 | 0.03 |
| 2.96 | 0.100 | 0.8 | 0.03 |
| 4.90 | 0.163 | 0.8 | 0.03 |
| 4.44 | 0.148 | 0.8 | 0.03 |

s=0.127mmδs=δs6=0.010

Thus, s≡s=1.3×10−4±0.1×10−4m

λ=sdD=1.3×10−4±0.1×10−4m4.46×10−3±0.01×10−3m0.904±0.001m=6.4×10−7±0.5×10−7m

Where δλ=dDδs+sDδd+sdD2δD.

Analysis of Accuracy and Uncertainty:

The principal source of error in this experiment arises when one determines the separation s of the intensity maxima.  Here, human error – due to counting 30 separations of intensity maxima – is more important than the measurement area due to the instruments.  The latter source of error is therefore neglected.  It is estimated therefore that in counting 30 separations, we incur an error of 5 separations.  I.e. in counting 30 separations, we estimate that the actual number of separations is between 27 and 33.  This additional uncertainty negates somewhat the improvement that this experiment makes in comparison with Young’s Slits.  This factor could be used by using a photomultiplier to count the intensity maxima and their separation.

Conclusion:

It was found that the wavelength of sodium light was6.4×10−7±0.5×10−7m.  This compares with the actual value of5.9×10−7m, which is within the range determined by experimental error.  This value could be improved by finding a different way of determining the separation s of adjacent intensity maxima.

Appendix:

Derivation of Equation (2):